Passenger Elevator

Panaromic Elevator

Hydraulic Elevator

Hospital Elevator

Freight Elevator

Home Elevator

Machine Roomless Elevator

FUZI Classic Elevators Pvt. Ltd.

PASSENGER ELEVATOR

Note : This is Our Standard Data, If other Special Requirement Please Contact us.

B

D

A

E

C

AUTO DOOR

AUTO DOOR	AUTO DOOR

Passenger Elevator  Panaromic Elevator  Hydraulic Elevator

Hospital Elevator

Freight Elevator Home Elevator

Machine Roomless Elevator

CAPSULE LIFT

CAPSULE LIFT

GLASS FACADE

A

E

C

C1

Note : This is Our Standard Data, If other Special Requirement Please Contact us.

CAPSULE LIFT

CAPACITY

6 TO 20

PASSENGER

B

D1

D

We provide all type of capsule lifts having ultra modern design to provide a cosmic zone experience to the passenger. The design provides extemely silent operation. It is also reliable and economical with minimum	maintenance.	The VVVF close loop microprocessor controller incorporated with the system makes the whole operation very sophisticated.

LOAD

CAR INSIDE

CAPSULE LIFT WITH AUTO DOORS

LIFT WELL

MACHINE ROOM

UP TO 1.5 M/Sec.

ENT.

Hoist Way Machine Room Size

| Per | WEIGHT | WIDTH | DEPTH WIDTH DEPTH |  |  |  |  |  | WIDTH | DEPTH | HEIGHT |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | IN KG. | A | B | C | C1 | D | D1 | E | F | G | H | K | M |
| 6 | 408 | 1000 | 1225 | 1900 | 1340 | 1870 | 1400 | 800 | 3000 | 3500 | 2500 | 2100 | 4800 |
| 8 | 544 | 1200 | 1360 | 2150 | 1590 | 2120 | 1600 | 800 | 3200 | 3500 | 2500 | 2100 | 4800 |
| 10 | 680 | 1400 | 1460 | 2250 | 1790 | 2220 | 1600 | 800 | 3500 | 4000 | 2500 | 2100 | 4800 |
| 15 | 1020 | 1400 | 1850 | 2250 | 1790 | 2610 | 1600 | 900 | 3500 | 4000 | 2500 | 2100 | 4800 |

# HYDRAULIC ELEVATOR

HOISTWAY ELEVATION & PLANS

B	D

A

C

Hoist Way Machine Room Size

| Persons | Capacity Kg | Car-w (A) | Car-d (B) | Shaft-w (C) | Shaft-d (D) |
| --- | --- | --- | --- | --- | --- |
| 3 | 225 | 800 | 900 | 1300 | 1300 |
| 4 | 300 | 850 | 1050 | 1350 | 1450 |
| 5 | 375 | 1000 | 1100 | 1500 | 1500 |
| 6 | 450 | 1100 | 1150 | 1600 | 1550 |
| 8 | 600 | 1100 | 1400 | 1600 | 1800 |
| 10 | 750 | 1200 | 1550 | 1700 | 1950 |
| 12 | 900 | 1300 | 1650 | 1800 | 2050 |
| 15 | 1125 | 1300 | 2000 | 1800 | 2400 |
| 20 | 1600 | 1400 | 2400 | 1900 | 2800 |

# HOSPITAL ELEVATOR

HYDRAULIC ELEVATOR

HOISTWAY ELEVATION & PLANS

B

D

A

E

C

HOSPITAL ELEVATOR	HOSPITAL ELEVATOR

Note : This is Our Standard Data, If other Special Requirement Please Contact us.

# FREIGHT ELEVATOR

CAPACITY

500 to 5000

L D B

E A C

K

TRAP DOOR

# HOME ELEVATOR

FREIGHT ELEVATOR

HOISTWAY ELEVATION PLAN

MACHINE

OVER HEAD 3100

B  D

ENT. 2000mm

TOP FLOOR

E A C

RISE

HOME ELEVATOR

CWT WEIGHT

| DOOR OPERATION | LOAD |  | LIFT WELL |  | CAR INSIDE |  | ENTRANCE | SPEED | PIT 550 550 | OVER |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | PERSONS | KGS | C | D | A | B | E | (MPS) |  | HEAD |
| MANUAL DOOR MANUAL DOOR | 3 4 | 204 272 | 1100 1300 | 1200 1400 | 810 800 | 700 1200 | 700 700 | 0.3 0.3 |  | 3100 3100 |
| AUTO DOOR | 3 | 204 | 1250 | 1250 | 810 | 700 | 700 | 0.3 | 550 | 3100 |
| AUTO DOOR | 4 | 272 | 1300 | 1600 | 850 | 1150 | 700 | 0.3 | 550 | 3100 |

DIMENSIONS TABLE

PIT 550

BOTTOM FLOOR

Note : This is Our Standard Data, If other Special Requirement Please Contact us.

# ACCESSORIES

S. S. Auto Telescopic Door	S.S. Auto Glass Door

S. S. Auto Door	M.S. Auto Door

Collapsible Door	Control Panel

Range of Door

M.S. Swing Door	M. S. Manual Telescopic Door

COP	LOP

Passenger Elevator

PERFECTION AT ITS FINEST

OUR BRANCHES

Hospital Elevator

JODHPUR

BIKANER

NEEMUCH

Hydraulic Elevator

KOTA

INDORE

SIKAR

AJMER

BHILWARA

Panaromic Elevator

Freight Elevator

Home Elevator

FUZI Classic Elevators P r i v a t e  L i m i t e d

Machine Roomless Elevator

An ISO 9001 & ISO 14000 Certified Company

360, Guru Nanak Pura, Raja Park Jaipur  -  302  004,  Rajasthan  (INDIA)

Tel. No. 0141-2620168, Mob : 9928019671

E-mail : atulsinghal@fuzielevators.com Website : www.fuzielevators.com Toll Free  :	1800 102 8421